## Instructions
Life Safety Risk Assessment Tool
The ASHE advocacy team works to monitor and unify the many overlapping codes and standards regulating the health care physical environment allowing health care facilities to optimize their physical environment and focus more of their valuable resources on patient care.
The American Society for Healthcare Engineering (ASHE) of the American Hospital Association 155 North Wacker Drive, Suite 400 ¦ Chicago, IL 60606 ¦ Phone: 312-422-3800 ¦ Email: ashe@aha.org ¦ Web: www.ashe.org
Disclaimer: This document is provided by ASHE as a service to its members. The information provided may not apply to a reader’s specific situation and is not a substitute for application of the reader’s own independent judgment or the advice of a competent professional. ASHE does not make any guaranty or warranty as to the accuracy or completeness of any information contained in this document. ASHE and the authors disclaim liability for personal injury, property damage, or other damages of any kind, whether special, indirect, consequential, or compensatory, that may result directly or indirectly from use of or reliance on this document.

## Tool
Determining Risk Tolerance
Risk Tolerance |  | Severity of Occurrence
|  | Category 1 Life safety deficiency likely to cause major injury or death (1) | Category 2 Life safety deficiency likely to cause minor injury (2) | Category 3 Life safety deficiency not likely to cause injury (3) | Category 4 Life safety deficiency likely has minimal impact to safety (4)
Impact of Deficiency | Facility Wide Impacts the entire facility (1) | High Needs Specific Remediation Actions | High Needs Specific Remediation Actions | Medium Needs Remedial Action | Low Risk Acceptable Remedial Action Discretionary
| Multiple Units/Floors Impacts multiple smoke compartments (2) | High Needs Specific Remediation Actions | High Needs Specific Remediation Actions | Medium Needs Remedial Action | Low Risk Acceptable Remedial Action Discretionary
| Local/Single Unit Impacts a single smoke compartment or area (3) | High Needs Specific Remediation Actions | Medium Needs Remedial Action | Medium Needs Remedial Action | Low Risk Acceptable Remedial Action Discretionary
| Short Duration Correction can be performed during shift Identified (4) | No ILSM Required -
Date: Location Address: Action(s) Taken: Creation of Corrective Action Plan, ILSM created, notified engineering. Person Completing Life Safety Risk Matrix: ILSM Required? YES
Deficiency Examples: | [5 empty] | Impact | Severity | Risk Level
Fire/Smoke Doors
Door latching problem not immediately repairable. | [5 empty] | 3 | 3 | Medium
Hardware not fire rated | [5 empty] | 3 | 4 | Low
Damaged Hardware | [5 empty] | 3 | 2 | High
Excessive undercut | [5 empty] | 3 | 4 | Low
Fire Alarm
Pull station mounted too high | [5 empty] | 3 | 4 | Low
Smoke detector missing above fire alarm panel | [5 empty] | 3 | 2 | Medium
Damaged devices/appliances | [5 empty] | 2 | 2 | High
Taking a detection/suppression system out of service for repair/modification <4 hours. | [5 empty] | 1 | 3 | Medium
Taking a detection/suppression system out of service for repair/modification >4 hours. | [5 empty] | 1 | 2 | High
Sprinkler System
Missing escutcheon plate | [5 empty] | 4 | 4 | No ILSM
Storage within 18" of sprinkler head deflector | [5 empty] | 4 | 4 | No ILSM
Dusty sprinkler heads. | [5 empty] | 3 | 4 | Low
Items attached or supported by sprinkler system | [5 empty] | 1 | 3 | Medium
Fire/Smoke Barriers
Improperly protected vertical opening(s). | [5 empty] | 2 | 1 | High
Corridor walls do no not extend to the structure. | [5 empty] | 2 | 1 | High
Unprotected penetrations in fire or smoke barriers. | [5 empty] | 2 | 3 | Medium
Hazardous areas not properly protected. | [5 empty] | 3 | 2 | Medium
Means of Egress
Obstruction to minimum egress width. | [5 empty] | 4 | 4 | No ILSM
Storage within exit enclosure. | [5 empty] | 2 | 4 | Low
Fire exit stairs discharge improperly. | [5 empty] | 2 | 2 | High
Excessive travel distance to an approved exit. | [5 empty] | 3 | 1 | High
Blocking of an exit due to construction activities. | [5 empty] | 3 | 2 | Medium